FLLoCA Dairy Zero Grazing Project

SPECIFICATION AND BILL OF QUANTITIES FOR THE

PROPOSED CONSTRUCTION AND INSTALLATION OF A DAIRY ZERO GRAZING UNIT

WITH A BIOGAS FOR MALOMONYE DAIRY FARMERS SELF HELP GROUP

IN NDIVISI WARD

| ITE M | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| A B C D E F G H | ELEMENT NO.1 | 30 30 9 20 0 0 0 31 | SM SM CM CM CM CM CM CM | 100 100 150 150 150 200 200 150 |  |
|  | SUBSTRUCTURES (All provisional) |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Clear site of all shrubs, bushes, trees and undergrowth |  |  |  |  |
|  | including grubbing up of roots and dispose off as directed. |  |  |  | 3,000.00 |
|  | Excavate oversite average 200mm deep and cart away as |  |  |  |  |
|  | directed |  |  |  | 3,000.00 |
|  | Excavation to reduce levels starting from stripped level not |  |  |  |  |
|  | exceeding 1.5 meters deep and cart away |  |  |  | 1,350.00 |
|  | Excavate trenches for strip foundation not exceeding |  |  |  |  |
|  | 1.5metres from reduced level |  |  |  | 3,000.00 |
|  | Ditto to column bases |  |  |  |  |
|  | Extra over excavation for rock in foundation |  |  |  |  |
|  | Filling and carting away |  |  |  |  |
|  | Return, fill and ram with selected and approved excavated |  |  |  |  |
|  | material around excavations |  |  |  |  |
|  | Load and cart away excavated materials from site |  |  |  | 4,650.00 |
|  | Hardcore Fillings |  |  |  |  |

| I J K L | 300mm thick approved hardcore filling; well rolled, rammed and compacted in making up levels, in layers of 150mm maximum thickness. | 30 | SM | 300 | 9,000.00 |
| --- | --- | --- | --- | --- | --- |
|  | 50mm murram filling to hardcore surfaces, well rolled and leveled to receive concrete | 30 | SM | 120 | 3,600.00 |
|  | Anti-termite treatment |  |  |  |  |
|  | Apply "Termidor" or any other similar and approved anti termite chemical treatment on blinded surfaces. | 30 | SM | 120 | 3,600.00 |
|  | Damp Proof Membrane |  |  |  |  |
|  | 500 gauge polythene sheeting with sides and end laps as described laid on blinded surfaces | 30 | SM | 120 | 3,600.00 |
|  | Carried to Collection |  |  |  | 34,800.00 |
| A B C D | Disposal of water |  |  |  |  |
|  | Keeping all excavations free from all water including spring or running water |  | Item | 1,000 | 1,000.00 |
|  | Planking and strutting |  |  |  |  |
|  | Uphold the sides of all excavations |  | Item | 1,000 | 1,000.00 |
|  | Concrete Work |  |  |  |  |
|  | Plain concrete (1:4:8) in |  |  |  |  |
|  | 50mm Thick blinding to strip foundation | 14 | SM | 250 | 3,500.00 |
|  | Ditto column bases | 14 | SM | 250 | 3,500.00 |

| E F G H I J K L M N O | Vibrated reinforced concrete grade 20/20 (1:2:4) in: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Strip footing | 3 | CM | 10,000 | 30,000.00 |
|  | Column bases | 0 | CM | 10,000 |  |
|  | Columns | 1 | CM | 10,000 | 10,000.00 |
|  | 150mm Thick ground bed | 30 | SM | 1,500 | 45,000.00 |
|  | Sawn formwork to: |  |  |  |  |
|  | Sides of strip footing | 27 | SM | 150 | 4,050.00 |
|  | Columns bases | 17 | SM | 150 | 2,550.00 |
|  | Columns | 13 | SM | 150 | 1,950.00 |
|  | Edges of floor bed 75 - 150mm high | 22 | LM | 150 | 3,300.00 |
|  | Reinforcement |  |  |  |  |
|  | Ribbed steel reinforcement bars as described to B.S. 4449; |  |  |  |  |
|  | including cutting to length, bending and fixing including all |  |  |  |  |
|  | necessary tying wires and spacing blocks (all provisional) |  |  |  |  |
|  | 12mm diameter | 0 | KG | 160 |  |
|  | 10mm diameter | 50 | KG | 160 | 8,000.00 |
|  | 8mm diameter | 27 | KG | 160 | 4,320.00 |
|  | Carried to Collection |  |  |  | 118,170.00 |
|  | Steel fabric mesh reinforcement to B.S. 4483 |  |  |  |  |

| A | No. A 142 fabric weighing 2.22Kg/sm fixed in bed | 30 | SM | 450 | 13,500.00 |
| --- | --- | --- | --- | --- | --- |
|  | Natural stone walling in cement and sand (1:3) mortar and including reinforcing with 20 x 3mm thick hoop iron in every alternate course. |  |  |  |  |
| B | 225mm Thick walling | 30 | SM | 1,000 | 30,000.00 |
|  | Plinths |  |  |  |  |
| C | 12mm thick cement and sand (1:3) render to plinths | 10 | SM | 250 | 2,500.00 |
| D | Prepare and apply three coats bituminous paint to rendered plinths | 10 | SM | 250 | 2,500.00 |
|  | Paving Slabs around building |  |  |  |  |
| E | 2no. 600 x 600 x 50mm thick precast concrete paving slabs bedded and jointed in cement and sand (1:4) mortar laid on and including 50mm thick sand bed | 14 | SM | 850 | 11,900.00 |
|  | Carried to Collection Below |  |  |  | 60,400.00 |
|  | COLLECTION |  |  |  |  |
|  | BROUGHT FORWARD FROM PAGE BW/1 |  |  |  | 34,800.00 |
|  | BROUGHT FORWARD FROM PAGE BW/2 |  |  |  | 118,170.00 |
|  | BROUGHT FORWARD FROM PAGE ABOVE |  |  |  | 60,400.00 |

|  | TOTAL FOR ELEMENT NO. 1 CARRIED TO |  |  |  | 213,370.00 |
| --- | --- | --- | --- | --- | --- |
|  | (SUBSTRUCTURES) SUMMARY |  |  |  |  |
| A | ELEMENT NO. 2 | 24 | NO | 1,500 | 36,000.00 |
|  | SUPERSTRUCTURE |  |  |  |  |
|  | WELL SEASONED PREGNATED WOODEN POLES |  |  |  |  |
|  | 100x50mm thick treated timber posts each 1500mm high above ground and 500mm below all round the site at 1000mm centres with 600mm cranked one end overall height 2000mm. |  |  |  |  |
|  | TOTAL FOR ELEMENT NO. 2 CARRIED TO |  |  |  | 36,000.00 |
|  | (SUPERSTRUCTURE CONCRETE WORK) SUMMARY |  |  |  |  |
| A | ELEMENT NO. 3 | 18 | SM | 1,200 | 21,600.00 |
|  | WALLING |  |  |  |  |
|  | Natural stone or solid concrete block walling with a minimum of 7.0 N/mm2 average compressive strength to B.S 5390; bedded and jointed in cement and sand (1:3) mortar reinforcing with 20 x 3mm thick hoop iron in every alternate course to approval |  |  |  |  |
|  | 200mm thick walling |  |  |  |  |

| B | Damp-proofing | 18 | LM | 120 | 2,160.00 |
| --- | --- | --- | --- | --- | --- |
|  | 200mm wide hessian based bituminous felt damp proofing course laid and bedded on cement sand (1:3) mortar;externally |  |  |  |  |
|  | TOTAL FOR ELEMENT NO. 3 CARRIED TO |  |  |  | 23,760.00 |
|  | (WALLING) SUMMARY |  |  |  |  |
|  | ELEMENT NO. 4 |  |  |  |  |
|  | ROOFING AND RAIN WATER DISPOSAL |  |  |  |  |
|  | Structural timbers: sawn cypress: celcure treated |  |  |  |  |
| A | 100 x 50 mm Rafters | 30 | LM | 200 | 6,000.00 |
| B | 100 x 50 mm Struts and ties | 48 | LM | 200 | 9,600.00 |
| C | 100 x 50 mm Ceiling joists | 0 | LM | 200 |  |
| D | 75 x 50 mm Purlins | 30 | LM | 200 | 6,000.00 |
| E | 100 x 50 mm Ridge board | 0 | LM | 200 |  |
| F | 100 x 50 mm king post | 0 | LM | 200 |  |
| G | 100 x 50mm wall plate rag-bolted at 1200mm centres with 12mm diameter bolts (m/s) | 20 | LM | 200 | 4,000.00 |
|  | Labour and material (Provisional) |  |  |  |  |
| H | 12mm diameter rag bolt, 200mm long complete with and including head, nut and two washers; cast into and including mortice in stone or concrete and run with cement and sand (1:3) mortar | 3 | NO | 50 | 150.00 |

| J K L | Drill 50mm thick timber to receive 12mm dia. Bolt (m/s) Sheet covering Gauge 30 pre-painted galvanised corrugated iron sheets fixed to purlins (m/s) Roof covering Accessories, fixing as necessary to roof Prepainted ridge cap 28g x 320mm girth with stiffeners | 0 30 0 | NO SM LM | 20 1,500 50 | 45,000.00 |
| --- | --- | --- | --- | --- | --- |
|  | TOTAL FOR ELEMENT NO. 4 CARRIED TO (ROOFING) SUMMARY |  |  |  | 70,750.00 |
| A B | DOORS Pedestrian gate overall size 1750mm wide x 2400mm high, comprising 50x50x3mm square hollow section framing all around, 50x50x3mm square hollow section as middle,horizontal and vertical rails, 50x50x3mm square hollow sections including all hanging and closing mechanisms. Prepare apply three coats polyurethane varnish from Crown or other equal and_approved manufacturer (s) to timberwork General surfaces of doors Internally | 2 8 | NO SM | 7,240 200 | 14,480.00 1,600.00 |

| C | Ditto but externally | 8 | SM | 200 | 1,600.00 |
| --- | --- | --- | --- | --- | --- |
|  | TOTAL FOR ELEMENT NO. 5 CARRIED TO (DOORS) SUMMARY |  |  |  | 17,680.00 |
| A C | ELEMENT NO. 6 FINISHES Wall finishes Insitu finishes Render; 15mm thick, 1 No. coat work of cement and sand (1:3); wood floated to concrete or blockwork base generally to:- Walls externally Plaster; 15mm thick, 2 No. coat work, 12mm first coat of cement sand (1:3); 3mm second coat of cement and lime putty (1:9); steel troweled to concrete or blockwork base Walls; internally Painting and Decorations Prepare and apply one undercoat and three coats of first quality emulsion paint to the following surfaces | 18 18 | SM SM | 450 450 | 8,100.00 8,100.00 |

| D E F | Rendered surfaces; external Prepare and apply one undercoat and three finishing coats of interior quality emulsion equal and approved paint to: Plastered walls Floor finishes 40mm thick cement and Quarry dust screed (1:4) | 18 18 30 | SM SM SM | 200 200 450 | 3,600.00 3,600.00 13,500.00 |
| --- | --- | --- | --- | --- | --- |
|  | TOTAL FOR ELEMENT NO. 7 CARRIED TO (FINISHES ) SUMMARY |  |  |  | 36,900.00 |
|  | SUMMARY |  |  |  |  |
| ELEMENT NO. TITLE |  |  | PAGE NO. |  | AMOUNT |
| 1 2 3 4 | SUBSTRUCTURE (ALL PROVISIONAL) CONCRETE WORK WALLING ROOF CONSTRUCTION. |  |  |  | 213,370.00 36,000.00 23,760.00 70,750.00 |
|  |  |  | BW /3 BW /4 BW /5 BW /6 |  |  |

| 5 | DOORS |  | BW /7 |  | 17,680.00 |
| --- | --- | --- | --- | --- | --- |
| 6 | FINISHES |  | BW /8 |  | 36,900.00 |
| 7 | Allow a provisional sum of Kenya Shillings One Hundred Thousand (Kshs 100,000.00) only for Project management. |  | ITEM |  | 100,000.00 |
|  | TOTAL FOR BUILDER'S WORKS CARRIED |  |  |  | 498,460.00 |
|  | TO GRAND SUMMARY |  |  |  |  |
| PRIME COSTS AND PROVISIONAL SUMS |  |  |  |  |  |
| ITE M | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
|  | ELEMENT NO. 7 |  |  |  |  |
|  | BIOGAS UNIT |  |  |  |  |

| A | Pre - digester should have a volume of 12m3 with a center wall having 1.5 opening at the bottom for free slurry movement. Excavation 9" rubble soiling, p.c.c:- 1:3:6, Bricks work :- 1:5, plastering :- 1:4, and aeration at two levels of equal intervals starting at 1 above the bottom level. The predigester will be covered by a slab of 4 thickness RCC with one manhole (2x2) cast in MS 5mm and haaving GI Vent pipes of 10x2" o.d . the vent pipe will be connected by a flexible pipe and emptied into predigisterat the digester side.the seal for all the opening should be be airtight.the mixer slurry will be deliverd directly into predigester .The delivery of the slurry in the predigester will be through airtight opening and will not release any foul odour in the sorroundings. | 109 | SM | 1,000 | 109,000.00 |
| --- | --- | --- | --- | --- | --- |
| B | Manure pits |  |  |  |  |
|  | There will be one manure pit of 1.5mx1.5mx1.5m | 102 | SM | 480 | 48,960.00 |
|  | (Excavation 9" rubble soiling ,p.c.c:-1:3:6, Bricks |  |  |  |  |
|  | work :-1:5 ,plastering :-1:4, as per the drawing .the |  |  |  |  |
|  | pit will have the filtration system of fine sand < |  |  |  |  |
|  | 0.2mm layer of 100mm course sand 0.6mm 100mm |  |  |  |  |
|  | and gravel 2-3mm 200mm with drains connected |  |  |  |  |
|  | through suitable pipes to an underground tank of |  |  |  |  |
|  | 500l capacity and having MS cover 5mm sheet .the |  |  |  |  |
|  | manure pit to be coverd with steel mesh using |  |  |  |  |
|  | channel supports to avoid sugging |  |  |  |  |
| C | Ballon room 3mx2mx3m roomto have double brick | 54 | CM | 455 | 24,570.00 |
|  | shahabadi stone flooring .No electrical connection |  |  |  |  |
|  | to the ballon room |  |  |  |  |
| D | Agas holder fabricated in MS (5mm sheet_) with | 1 | ITEM | 50,000 | 50,000.00 |
|  | suitable reiforced structure and coated with fiber |  |  |  |  |
|  | paint on outside and epoxy painting on inside will |  |  |  |  |
|  | be placed before seal beffore commissioning of the |  |  |  |  |
|  | project |  |  |  |  |

| E | Biogas collection and utilization from the digester | 30 | LM | 1,050 | 31,500.00 |
| --- | --- | --- | --- | --- | --- |
| F | Installation costs |  |  |  | 85,970.00 |
| G | Allow a provisional sum of Kenya Shillings Eighty |  |  |  |  |
|  | thousands (Kshs 80,000.00) only for project management |  | ITEM |  | 80,000.00 |
|  | TOTAL PROVISIONAL SUMS CARRIED TO GRAND SUMMARY |  |  |  | 430,000.00 |
| GRAND SUMMARY |  |  |  |  | 928,460.00 |
| ITE M | DESCRIPTION |  | Page No. | FOR TENDERE R USE ONLY | FOR OFFICIAL USE ONLY |
|  |  |  |  | K.SHS. | K.SHS. |
| A | ZERO GRAZING UNIT | From Page | BW |  | 498,460.00 |
| B | BIOGAS UINT | From Page | BW |  | 430,000.00 |
|  | TOTAL CARRIED TO FORM OF TENDER (VAT INCLUSIVE) |  |  |  | 928,460.00 |
| Amount in words. Kenya shillings NINE HUNDRED AND TWENTY EIGHT THOUSAND, FOUR HUNDRED AND SIXTY |  |  |  |  |  |
| …..…………………………………………………..…Cents ZERO |  |  |  |  |  |
| Tenderer's signature and stamp…………………………………………………………………………………………… |  |  |  |  |  |